## Cost Summary
RFQ ref. no: City Bank/Proc/Y25/159
PRICE SUMMARY
Project Name: Supply & installation of VRF AC at City Bank Uttara Branch & Priority Center.
Project Location: 'Mostafiz Tower' 1st Floor to the 4th Floor, Plot - 23, Road - 15, Sector - 03, Rabindra Sarani, Uttara, Dhaka.
Air Conditioning System: Cassette type VRF AC
Financial Offer
Total Cooling Capacity = 80 TR
Special Features included: |  |  | 1) Smart Zone Controller
2) Cassette Type Indoor Unit
3) Fresh Air Consider
4) Environment friendly R410A gas used.
SL. | Description |  | Total (BDT)
A | Supply of Imported Items in BDT |  | 0
B | All Local Works including Installation of Imported Items. |  | 0
Total in BDT (Including VAT & AIT) = |  |  | 0
In Word: Taka .
Annual Maintenance after warranty period
Sl. | Job Description | UoM |  | Rate
1 | Yearly comprehensive maintenance services with spare parts | Cost/year
Or
2 | On call services (Services Only) | Per Call
| Preventive maintenance services quarterly. (services only) | Per quarter
* Please provide the list of spare parts with price.
Warranty: Please specifically mention -
Sl. | Item | Year |  | Remarks
a | Compressor |  |  | Free Repair / replacement
b | Spare parts |  |  | Free
c | Services |  |  | On call free services
d | No. of Routine services during warranty period

## Import
RFQ ref. no: City Bank/Proc/Y25/159
SCHEDULE OF ITEMS OF WORKS AND BILL OF QUANTITIES FOR AIR-CONDITIONING SYSTEM FOR UTTARA BRANCH & PRIORITY CENTER AT (1st, 2nd, 3th & 4th Floor) UTTARA, RABINDRA SARINI, UTTARA , DHAKA.
SECTION A: SUPPLY OF IMPORTED ITEMS
Sl. | Description of Item of Works | Qty | Unit | Rate (Tk.) Including Tax & VAT | Total (Tk.) Including Tax & VAT
1.0 | OUTDOOR UNIT: ( Inverter Type)
Variable Refrigerant Flow (VRF) units having cooling capacities as mentioned below. Each unit shall have a combination of Inverter type Compressors, DX Condenser with Copper tube & Aluminum Fins. Condenser Fan with Fan guard, Terminal board, over current protector, Voltage Transformer, Temperature sensor, Pressure sensors, built in Oil separator & Accumulator, etc, complete in all respect. The unit shall operate when supplied with 400±10% V / 50hz / 3 Ph Electric power.
Total Cooling capacity of Outdoor Unit: 80 ton (20 ton for each floor)
Capacity:
Brand:
Model:
Origin:
Assemble:
Air Flow Direction : Vertical
Refrigerent : R410A
Power Source (Volt-Phase-Frquency,Hz) : 380-3-50
(Bidder will mention considering available stock and also mention in the layout)
2.0.0 | INDOOR UNIT (INVERTER TYPE)
CASSETTE TYPE UNITS:
Fan Coil units having cooling capacities as mentioned below. Each unit shall be operated with Variable Refrigerant Flow (VRF) outdoor units. FCU shall have Electronic refrigerant control valve (EXV), washable filter, fan speed controller, Terminal Box, Voltage Transformer, etc. complete in all respect.
2.1.1 | Cassette Type indoor unit (20 Ton for each floor, Total 80 ton)
Capacity:
Brand:
Model:
Origin:
Assemble:
(Bidder will mention considering available stock and also mention in the layout)
3.0.0 | ACCESSORIES : (As per requirement) |  | Sets
Supply, Installation of Refnet Y shaped Tee joints specially prepared for VRF system manufactured by the VRF plant.
BRAND:
ORIGIN:
4.0.0 | CENTRAL AUTO CONTROL SYSTEM : | 4 | Set
Supply,Installation & Commissioning of Central Auto Control System with all other accessories c/w smart zone controller etc in all complete.
Brand:
Model:
Origin:
Total Section-A (Including Tax & VAT) Tk. |  |  |  |  | 0
In Words: Taka Only.

## Local
RFQ ref. no: City Bank/Proc/Y25/159
SCHEDULE OF ITEMS OF WORKS AND BILL OF QUANTITIES FOR AIR-CONDITIONING SYSTEM FOR UTTARA BRANCH & PRIORITY CENTER AT (1st, 2nd, 3th & 4th Floor) UTTARA, RABINDRA SARINI, UTTARA , DHAKA.
SECTION-B: SUPPLY AND INSTALLATION OF LOCAL ITEMS
Sl. | Description of Item of Works | Qty | Unit | Rate (Tk.) Including Tax & VAT | Total (Tk.) Including Tax & VAT
1 | REFRIGERATION PIPE
Supply & installation of refrigeration copper pipe (L- Grade), elbow, bends, tees, joints, insulation, and all necessary materials as per following sizes.
| a. Cu-pipe: 1/4" dia |  | Rft
| b. Cu-pipe: 3/8" dia |  | Rft
| c. Cu-pipe: 1/2" dia |  | Rft
| d. Cu-pipe: 5/8" dia |  | Rft
| e. Cu-pipe: 3/4" dia |  | Rft
| f. Cu-pipe: 7/8" dia |  | Rft
| g. Cu-pipe: 1" dia |  | Rft
| h. Cu-pipe: 11/8" dia |  | Rft
| i. Cu-pipe: 11/4" dia |  | Rft
| j. Cu-pipe: 11/2" dia |  | Rft
2 | CONDENSATE DRAIN PIPE |  | Rft
Supply & installation of condensate drain pipe shall be c/w PVC pipe,elbow, bends, joints, insulation etc.
3 | AIR TERMINALS
3.1 | SUPPLY AIR DIFFUSER |  | Sft
Supply and installation of ceiling mounted Supply air Diffuser made of extruded aluminium and as per detail technical specification. Each unit shall contain plenum chamber and all other accessories.
4 | COMMUNICATION CABLE WORKS |  | Rft
5 | REFRIGERANT, R410a |  | Kg
6 | INSTALLATION, TESTING AND COMMISSIONING |  | Job
Installation, testing, commissioning and balancing of AC equipment shall be done with necessary equipment and materials and to the satisfaction of the Owner.
| Total Section-B (Including Tax & VAT) Tk. = |  |  |  | 0
In Words: Taka Only.